## Main outcome
No | Title | Authors | Institution | Journal | Journal IF | Year of Publication | Sponsorship | Device(s) Type | Launch date of device | Subject N | Gender | Etiology | Onset of hearing loss/ duration | duration implanted ear [years] | Degree of hearing loss implanted ear | PTA | Age Range | Mean/Median Age | SD | Comments to age | Speech tests performed | Adaptive Y/N | Test condition/level | Test Interval | Additional Tests | Study value | Comments
1 | Clinical Outcomes of the Cochlear™ Nucleus(®) 5 Cochlear Implant System and SmartSound™ 2 Signal Processing https://pubmed.ncbi.nlm.nih.gov/27310402/ | Runge CL, Henion K, Tarima S, Beiter A | Medical College Wisconsin | Journal of the American Academy of Audiology | 1.6 | 2016 | Cochlear | Cochlear Nucleus 5, smart sound audio processor | 2009-09-01 | 38 |  | Not reported | mean 40.8 year (3 to 80 years) mean duration of deafness 22.8, ≤1to 71 years | 22.8 | Bilateral moderate to profound low frequency and profound mid to high frequencies. No post-op residual hearing reported. Threshold at 500=80, 1000=98, 2000=110. | 96 | 18 - 89 | 63.6 | N/A | N/A | AzBio (Q), AzBio (N), CNC | N | 60dBA and 65dB with +5 SNR 0° | 3, 6, 12 months | QOL - HU13 | Has potential | Multicenter (13) collected Feb 2010-2012
2 | Hearing and Quality-of-Life Outcomes After Cochlear Implantation in Adult Hearing Aid Users 65 Years or Older: A Secondary Analysis of a Nonrandomized Clinical Trial https://pubmed.ncbi.nlm.nih.gov/32857114/ | Wick CC, Kallogjeri D, McJunkin JL, Durakovic N | Washington University St. Louis | JAMA Otolaryngology–Head & Neck Surgery | 6.2 | 2020 | Cochlear | Cochlear Nucleus CI 532 | 2015-03-01 | 70 | 51 males, 19 females | Unknown 30, Noise 24, Genetic 9, Other 3, Meningitis 2, Otosclerosis 2 | Implanted ear duration median 28 year (10 - 66) duration of severe h.l. median 10 (10 - 66). Contralateral ear duration median 27, ( 8 - 66), severe hearing loss 10 (0 - 19) | 28 | Bilateral moderate to profound hearing loss with less than 20 years of profound deafness. Post-op not reported. | Not reported | 65 - 91 | 74 | N/A | N/A | CNC, AzBio | N | AzBio +10 SNR | 6 months | SSQ
3 | Controlled comparative clinical trial of hearing benefit outcomes for users of the Cochlear™ Nucleus 7 Sound Processor with mobile connectivity https://pubmed.ncbi.nlm.nih.gov/30714500/ | Warren CD, Nel E, Boyd PJ | Cochlear Ltd, Sydney | Cochlear Implants International | 1.3 | 2019 | Cochlear | Cochlear Nucleus 7 processor with CI 24RE or later implant | 2017-09-01 | 37 | 43.2% male 56.8% female | Not reported | Not reported | 17.4 | Out of 37 submects, 13 were implanted in Melbourne clinic of which 9 had residual hearing. Subject implanted in Sydney center of which there were 24 had no residual hearing. Post-op not reported. | Not reported | 25 - 81 | 58.4 | N/A | N/A | Client Oriented Scale of Improvement (COSI) CNC, SRT sentences | N | CNC 50 dBSPL, SRT sentences 65dBSPL | 1 year of use of Nucleus 7 | Phone test | Not much. Implant generations vary. | All subject had at least 6 months experience with N 5 or 6. Used N7 for 1 year at time of testing.
4 | Multicenter US Clinical Trial With an Electric-Acoustic Stimulation (EAS) System in Adults: Final Outcomes https://pubmed.ncbi.nlm.nih.gov/29342054/ | Pillsbury HC 3rd, Dillon MT, Buchman CA, Staecker H | University of North Carolina | Otology & Neurotology | 2.3 | 2018 | MED-EL | MED-EL Pulsar or Sonata | Pulsar 2004 Sonata June 2013 | 73 | 42.5% male 57.5% female | Not reported | duration of h.l. left 17.4 ± 10.63. Min/max (1-48), right ear 17.4 ± 10.30 Min/max (1- 48) | 17.4 | severe to profound hf hearing loss bilaterally. Threshold at 500=65, 1000=93, 2000=110. | 89 | 17 - 76 | 53.7 | N/A | N/A | CNC, CUNY | N | CUNY with 0,+5, +10 dB SNR | 3,6, 12 months | QOL: Abbreviated Profile of Hearing Aid Benefit (APHAB); Hearing Device Satisfaction Scale (HDSS) | Implanted with Flex 24, had residual hearing | Multicenter (14) used PULSAR and Sonata implants
5 | Longitudinal outcomes of cochlear implantation and bimodal hearing in a large group of adults: A multicenter clinical study https://pubmed.ncbi.nlm.nih.gov/33161258/ | D. Kelsall, J. Lupo, A. Biever | Rocky Mountain Ear Center | American Journal of Otolaryngology–Head and Neck Medicine and Surgery | 1.6 | 2021 | Cochlear | Cochlear CI532 Nucleus 7 processor | 2015-03-01 | 100 | 63% male 37% female | Not reported | Not more than 20 years of severe to profound h.l. | 20 | bilateral moderate sloping to profound. 85dBHL ± 15 | 85 | 23 -93 | 67 | 15 | N/A | CNC, AzBio | N | CNC 60 dBA, AzBio 65dBA (+5, +10 dB SNR | 3,6,12 months | None | High
6 | Nucleus Hybrid S12: Multicenter Clinical Trial Results. https://pubmed.ncbi.nlm.nih.gov/32212342/ | Dunn CC, Oleson J, Parkinson A, Hansen MR | University of Iowa | The Laryngoscope | 2.4 | 2020 | None | Cochlear Hybrid S12 10 mm array | 2008 | 28 | 54% male 46% female | Familial 8 Noise 3 Ototoxicity 1 Trauma 1 Unknown 14 Viral 1 | average 14.2 years SD 9.2 years | 14.2 | Severe to profound high frequency hearing loss; L.F. PTA bewteen 125 and 500 Hz ≤60dBHL, threshold average at 2, 3, 4 K ≥75 dBHL. | not reported | 33.1 - 86.8 | 62.3 | 11.6 | N/A | CNC, AzBio | N | CNC 60dbA AzBio +5dBSNR | Only 12 month data reported | Speech, spacial and qualities of hearing (SSQ) |  | This would be a subgroup. Hearing preservation is described which could be inconsistent with other publications. Degree of HP impacts performance. Group with Pillsbury entry 6
7 | Multicenter clinical trial of the Nucleus Hybrid S8 cochlear implant: Final outcomes https://pubmed.ncbi.nlm.nih.gov/26756395/ | Gantz BJ, Dunn C, Oleson J, Hansen M | University of Iowa | The Laryngoscope | 2.4 | 2015 | None | Cochlear Hybrid S8 | 2008 | 87 | 44.8 % male 55.2 % female | Unknown 47% Family history 25.3% Noise 17.2% Autoimmunite 2.3% Measles 2.3% Ototoxicity, neuritis, LAVS, Shers, Hydrops each 1.1% | duration of h.f. hearing loss was 23.6 years (SD 13.3, mean 22.8) | 23.6 | ≥60dBHL at 125 and 250 Hz. Threshold average at 2,3 and 4 K ≥75dB. Threshold at 250=30, 500=42, 750=62, 1000=81. | 53.75 | 19.6 - 82.3 | 59.8 | N/A | N/A | CNC, BKB, APHAB | N |  | 3,6,9 month. Second group tested at 1 year |  |  | This device generation is too old. Data was collected between 2002 and 2011
8 | Benefits of Cochlear Implantation for Single-Sided Deafness: Data From the House Clinic-University of Southern California-University of California, Los Angeles Clinical Trial https://pubmed.ncbi.nlm.nih.gov/30358655/ | Galvin JJ 3rd, Fu QJ, Wilkinson EP, Mills D | House Ear Institute | Ear & Hearing | 3.6 | 2018 | MED-EL provided implants | MED-EL Concerto 28 | 2010 | 10 | 5 male 5 female | 8 Unknown 1 Labrynthitis 1 Vestibular neuritis | duration of deafness 3.2 ± 2.1 years | 3.2 | PTA ≥70dBHL implanted ear, contralateral PTA ≤25 dBHL with no threshld ≥35 dB | 95 | N/A | 57.6 | 10.3 | age of implantation | CNC, HINT | Y | 60dBA, noise variable depending on 50% criteria | 1,3,6 months | Localization, Tinnitus scale (VAS) Tinnitus Functional Index (TFI), Dizziness Handicap Inventory (DHI)Speech, Spacial and Qualities of Hearing Scale (SSQ), Glasgow Hearing Aid Benefit Profile (GHABP)
9 | Cochlear implants in single-sided deafness - clinical results of a Swiss multicentre study https://pubmed.ncbi.nlm.nih.gov/31880806/ | Peter N, Kleinjung T, Probst R, Hemsley C | University Hospital Zurich | Swiss Medical Weekly | 1.1 | 2019 | Cochlear | Cochlear CI 422 | 2009 | 10 | 6 male 4 female | Not reported | mean duration of SSD before inclusion date 1.3 years (range 0.5 - 4.3 SD .1.1) and before CI implantation 1.7 years (range 0.8 - 4.6 SD 1.1) | 1.7 | thresholds ≥70dBHL at .5, 1, 2 and 4 in implanted ear. 25dB or better from 125 - 2K and 35dBHL or better at 4 and 8k. Threshold at 500=85, 1000=95, 2000=95. | 92 | 27.8 - 62.7 | 47 | 10.2 | N/A | Oldenburg Sentences | Y | Adaptive level based on 50%, noise at 65 dB SPL | 3,6, 12 months | Sound localization, Tinnitus Handicap Inventory (THI) SSQ | Dimished by Oldenburg unless we can find Large N with Oldenburg
10 | Assessment of Speech Understanding After Cochlear Implantation in Adult Hearing Aid Users: A Nonrandomized Controlled Trial https://pubmed.ncbi.nlm.nih.gov/32857113/ | Buchman CA, Herzog JA, McJunkin JL, Wick CC | Washington University St. Louis | JAMA Otolaryngology– Head & Neck Surgery | 6.2 | 2020 | Cochlear | Cochlear Ci 523 CP1000 processor | 2015-03-01 | 96 | 65% male 45% female | Not reported | Duration of hearing loss in implant ear, mean (SD) [range], y 27 (14) [1-66] Duration of severe hearing loss in implant ear, mean (SD) [range], y 8 (6) [0-19] Duration of hearing loss in nonimplant ear, mean (SD) [range], y 27 (14) [2-66] Duration of severe hearing loss in nonimplant ear, mean (SD) [range], y 8 (6) [0-27] | 27, 8 | bilateral moderate sloping to profound or worse sensorineural hearing loss. | 85 | 23 - 91 | 71 | N/A | note change | CNC, AzBio | N | 60 dBA | 6 months | Health Utility Index, SSQ, Montral Cognitive Assessment
11 | Outcome evaluation on cochlear implant users with residual hearing https://pubmed.ncbi.nlm.nih.gov/29214896/ | Neben N, Buechner A, Schuessler M, Lenarz T | Hannover Medical School | Cochlear Implants International | 1.3 | 2017 | Cochlear | Cochlear Freedom Hybrid, CP900 processors Hybrid 24 or CI 422 implant | 2008 | 40 | Group 1 -13 female 11 male Group 2 - 8 female 6 male | Unknown 17 Familial 7 Noise 5 Mumps 1 Premature Otitis 2 Rubella 1 Ototoxicity 1 Accident 2 |  | N/A | PTA is reported for each subject but not average is reported. PTA average given at 250, 500, 1000 and 1500 Hz for 38 subjects. | 78.73 | 23 - 80 | 62 | N/A | N/A | Freiburg Monosyllables, Oldenburg Sentences | Y | 65 dBSPL Adaptive | 3,6,9,12 weeks | Likert scale - satisfaction | cross-over study comparing processors
12 | Cochlear Implantation in Cases of Asymmetric Hearing Loss: Subjective Benefit, Word Recognition, and Spatial Hearing https://pubmed.ncbi.nlm.nih.gov/32808881/ | Dillon MT, Buss E, Rooth MA, King ER | University North Carolina | Trends in Hearing | 3.3 | 2020 | MED-EL | MED-EL Synchrony with Standard electrode array | 2014 | 20 | 9 male 11 female | Not reported | Not reported | N/A | unaided PTA (500, 1000, and 2000 Hz) of 70 dB HL in the ear to be implanted and between 35 and 55 dB HL in the contralateral ear, Threshold at 500=85, 1000=90, 2000=85. | 87 | 52 - 79 | 70 | 7 | N/A | CNC, BKB, AzBio | Y | CNC and BKB 60 dBSPL, AzBio noise level varied, adaptive method | 1, 2, 6, 9 and 12 months | Abreviated Profile of Hearing Aid Benefit (APHAB), SSQ, Tinnitus Handicap Inventory (THI)
13 | Comparison of two cochlear implant coding strategies on speech perception https://pubmed.ncbi.nlm.nih.gov/27750737/ | Dillon MT, Buss E, King ER, Deres EJ | University of North Carolina | Cochlear Implants International | 1.3 | 2016 | MED-EL | MED-EL Concerto 28 | 2010 | 22 | Not reported | Not reported | reported for individual subjects only | N/A | Not reported | Not reported | over 18 | N/A | N/A | N/A | CNC, HINT in quiet and noise, AzBio quiet and noise, BKB-SIN | N | 60 dBSPL Noise at +10 SNR | 1,3 and 6 months | None | 2 groups of 11 people, compared HDCIS with FSP coding strategy | total but only 11 with FSP
14 | Comparison of the Effects of Two Cochlear Implant Fine Structure Coding Strategies on Speech Perception https://pubmed.ncbi.nlm.nih.gov/32464082/ | Müller V, Klünter HD, Fürstenberg D, Walger M | University of Cologne | American Journal of Audiology | 1.5 | 2020 | None | MED-EL Pulsar, Sonata and Concerto | Pulsar 2006, Sonata 2013, Concerto 2010 | 12 | 4 males 8 females | Not reported | minimum 9 months of CI experience at the time of testing | N/A | not reported | Not reported | 46 - 77 | 59 | N/A | N/A | Oldenburg Sentences, Gottingen Sentence Test | Y | 65dBSPL, noise adaptive | 12 weeks | SSQ | cross-over study comparing coding strategies FSP vs FSP4. Could collapse groups
15 | Stable benefits of bilateral over unilateral cochlear implantation after two years: A randomized controlled trial https://pubmed.ncbi.nlm.nih.gov/27667732/ | van Zon A, Smulders YE, Stegeman I, Ramakers GG | University Medical Center Utrecht | The Laryngoscope | 3.3 | 2016 | None | AB HiRes 90K with Harmony processor | 2003 | 38 | Unilateral CI 11 males 8 females BiCI 8 males 11 females | UCI/BiCI Hereitary 7/6 Unknown and progressive 9/16 Sudden 0/2 Head trauma 0/1 Meningitis 2/0 Rhesus antagonism 1/0 Sound exposure 0/1 | not reported | N/A | Severe bilateral sensorineural hearing loss. right ear 106 dB ± 12, range 78 - 125, left ear 108 ± 13, range 83-127 | 107 | 26 - 67 | 30.5 | 12.5 | age of onset severe hearing loss right ear. Did not report age at time of testing | SRT, Dutch phonemes, Utrecht sentence test with adapative randomized roving levels (U-STARR), speech intellegibility test weith spacially separated sources (SISSS), Localization testing | Y | Noise was roving at 65, 70 and 75 dB adaptive | 1 and 2 years | SSQ | Dutch language
[17 empty] | 3 - 55 | 30.6 | 19.8 | age of onset severe hearing loss left ear. Did not report age at time of testing
16 | Evaluating long term hearing outcomes https://pubmed.ncbi.nlm.nih.gov/31135665/ | Dayse Ta ́vora-Vieira, Gunesh P. Rajan, Paul Van de Heyning, and Griet Mertens | Antwerp, Perth | Otology & Neurotology | 2.3 | 2019 | None | MED-EL FLEX 28, FLEX soft and Standard Opus 2/Rondo | Type of implant not specified, only electrode array | 33 | 15 males 18 females | Hydrops, Sudden Deafness, Labyrinthitis, Herpes zoster oticus, ISSNHL, Mumps, Fistula, Head trauma | duration of deafness 0.3 - 41 years | 0.3-41 | mean audiogram pure-tone average (PTA 500; 1000; 2000; 4000 Hz) of the contralateral ear was 17 dB7.56 dB (range, 4–29 dB) | Not reported | 23 - 79 | 53 | N/A | N/A | BKB (Perth) Leuven Intellegibility Sentences (Antwerp) | Y | Adaptive 0dB SNR | Varied | SSQ
17 | Spatial Speech-in-Noise Performance in Bimodal and Single-Sided Deaf Cochlear Implant Users https://pubmed.ncbi.nlm.nih.gov/31364496/ | Ben Williges, Thomas Wesarg, Lorenz Jung, Leontien I. Geven, Andreas Radeloff, Tim Jueren | Oldenburg, Freiburg, Luebeck Germany | Trends in Hearing | 3.3 | 2019 | None | Cochlear, AB and MED-EL CI 422 (5) CI512 (5) CI 24RE (2) Hybrid L (1) Concerto (1) HiRES Hi Focus (1) | CI 422 2009, CI 512 2014, CI24 RE 2013 Hybrid L 2014, Concerto 2010, Hi Res 2003 | 16 | 9 males 7 females | Unknown (5) Sudden hearing loss (5) Meniere (2) Labyrintitis (1) Otitis Media (1) Ototoxicity (1) Otosclerosis (1) |  | N/A | PTA reported for individual subjects in non-implanted ear | Not reported |  |  |  |  | Oldenburg and Freiburger | Y | Adaptive | At least 1 year CI experience |  |  | total 8 bimodal 8 CI SSD
18 | Outcomes for clinically representative cohort of hearing-impaired adults using the Nucleus CI 532 cochlear implant https://pubmed.ncbi.nlm.nih.gov/32140773/ | Matthias Hey, Nicole Neben, Timo Stöver, Uwe Baumann, Alexander Mewes, Tim Liebscher, Mark Schüssler, Antje Aschendorff, Thomas Wesarg, Andreas Büchner, Paula Greenham & Ulrich Hoppe | Kiel, Hannover Frankfurt, Erlangen, Freiburg | European Archives of Oto-Rhino-Laryngology | 2.5 | 2020 | Cochlear | Cochlear CI532 | 2014-06-01 | 159 | 54 males 46 female | Chronic otitis media 1, Choesteatoma 1, Familial 4, Measles 1, Meniere's 4, Meningitis 2, Noise 1, Other 19, Otosclerosis 5, Ototoxicity 1, Rubella 2, Sudden 15, Unknown 94, Viral 2, Missing 7 | duration of hearing loss for 148 subjects 23.9 years, SD 18 years, median 21 years, range 0 - 75 years | 23.9 | divided into age groups. >75: 92db, 65-75: not reported, 50-65: 94db, 25-50: 103db, <25: 110db | Not reported | 14 - 91 | 56.6, 58 | 18 | Age at implantation | Freiburg monosyllables at 65 dB SPL, HSM 65 dB with +10 SNR, Oldenburg or Gottingen Sentences at 65 dB SPL with noise | Y | 65 dB SPL Adaptive | 3 and 6 months | None | Retrospectively collected
19 | Comparative Performance of Lateral Wall and Perimodiolar Cochlear Implant Arrays https://pubmed.ncbi.nlm.nih.gov/33710993/ | Sturm, Joshua J.; Patel, Vir; Dibelius, Greg; Kuhlmey, Megan; Kim, Ana H. | Columbia University, Un. of Pennsylvania, New York Eye and Ear | Otology & Neurotology | 2.3 | 2020 | None | Cochlear, AB and MED-EL 5 LW designs: CI 422 (Cochlear), 1J (AB) Medium, Standard, Flex 28 (MED-EL) 2 PM designs: Contour (Cochlear) Mid Scalar (AB) | Retrospective study only specified electrode array type, not implant | 119 | 52 males 67 females | Unknown 80, Genetic 15, Other 24 | Not reported | N/A | reported only pre-op PTA: 1J 93 ±17, | 94 | N/A | 56.8 | 22.9 | 1J (AB) N=14 | CNC, Melody Contour Indentification (MCI) | N | 50dB HL | 3, 6, 12 and 24 months | None | Retrospectively collected
[15 empty] | Mid Scala 99±12 |  | N/A | 57.1 | 17.6 | Mid Scala (AB) N=16
[15 empty] | CI422 98±12 |  | N/A | 63.5 | 18.4 | CI 422 (C) N=17
[15 empty] | Contour 97±13 |  | N/A | 54.5 | 22.9 | Contour (C) N=16
[15 empty] | Medium 88±15 |  | N/A | 59.8 | 17 | Medium (ME) N=18
[15 empty] | Standard 95 ±11 |  | N/A | 58 | 23 | Standard (ME) N=16
[15 empty] | Flex 91±12.2 |  | N/A | 59.2 | 21.3 | FLEX 28 (ME) N=22
20 | Understanding music with cochlear implants https://pubmed.ncbi.nlm.nih.gov/27558546/ | Lisa Bruns, Dirk Mürbe , Anja Hahne | TU Dresden | Scientific Report | 4.4 | 2016 | MED-EL | Cohlear, AB and MED-EL: 23 MedEL users, 27 Cochlear users, 3 Advanced Bionics users |  | 53 | Post-ling 17 males, 21 females Pre-ling 8 males, 7 females | Not reported | not reported | N/A | not reported | Not reported | 31 - 79 | N/A | N/A | Post-ling | MuSIC | Unknown | Not reported | Not reported | Electrophysiology |  | , N = 15 preling, N = 38 post-ling; N = 53 normal hearing
[17 empty] | 23 - 70 |  |  | Pre-ling
21 | Cochlear implant treatment of patients with single sided deafness or asymetric hearing loss | S. Arndt · R. Laszig · A. Aschendorff · F. Hassepass · R. Beck · T. Wesarg | Freiburg | HNO | 1.3 | 2017 | Authors received financial support from all three manufacturers | Cochlear, AB and MED-EL: Cochlear: CI 24 RE, CI 512, CI 422 MED-EL Concerto Flex 28, Synchrony Flex 28, AB HiRes 90K, HiFocus MS | CI 24 RE 2013, CI 512 2014, CI 422 2009. Concerto 2010, Sychrony 2014, HiRES 2003, Hi Focus 2017 | 85 (45 SSD, 40 AHL) | SSD 18 males, 27 females AHL 22 males, 18 females | Not reported | SSD group median 18 months, range 1 - 408 months, AHL group median 40 months, range 4 - 480 months | 1.5 , 3.33 | SSD ≤30 dB from 125 Hz - 4K, AHL hearing loss in the better-hearing ear of ≤60 dB to 4 kHz and >30 dB in at least one frequency up to 4 kH. Implanted ear thresholds not reported but shown in graph. | 108 | 22.5 - 68.3 | 45.3 | N/A | SSD group | Oldenburg Sentences | Y | 65 dB SPL Adaptive | 12 months | SSQ, Localization | Retrospective from 2008 | (combined SSD and AHL)
[17 empty] | 21.8 - 71.2 | 53.7 | N/A | AHL group
22 | Effects of Cochlear Implantation on Binaural Hearing in Adults With Unilateral Hearing Loss https://pubmed.ncbi.nlm.nih.gov/29732951/ | Emily Buss , Margaret T. Dillon , Meredith A. Rooth , English R. King , Ellen J. Deres , Craig A. Buchman , Harold C. Pillsbury , and Kevin D. Brown | University of North Carolina, Washington University | Trends in Hearing | 3.3 | 2018 | None | MED-EL Standard, Opus 2 | Implant type not specified, only electrode array and external processor | 20 | Not reported | Unknown 16, Meniere's 3, Trauma 1 | Duration of deafness prior to implantation ranged from 0.6 to 6.6 years, with a mean of 2.6 years | 2.6 | moderate-to-profound hearing loss in the CI ear, thresholds of ≤35 dB HL 125 to 8000Hz in the NH ear. Threshold at 500=85, 1000=80, 2000=85. | 83 | 23-66 | 50 | N/A |  | CNC AzBio | N | Both 60 dBSPL | 1, 3, 6, 9 and 12 months | Localization
23 | A Randomized Controlled Crossover Study of the Impact of Online Music Training on Pitch and Timbre Perception in Cochlear Implant Users https://pubmed.ncbi.nlm.nih.gov/30815761/ | Nicole T. Jiam, Mickael L. Deroche, Patpong Jilradejvong, Charles J. Limb | University of California San Francisco | Journal of the Accociation for Research in Otolaryngology | 2.7 | 2019 | None | Cochlear, AB and MED-EL: MED-EL (6), Cochlear (7), AB (6) | Devices listed vary between external processor, implant and electrode type. | 20 | Not reported | Idiopathic 9, Congenital 5, Menieres 1, Genetic 2, EVAS 1, Aging 1, Meningitis 1 | age at profound hearing loss varied depending on the hearing loss etiology (3 to 71 years old). The duration of implant use ranged from 1 to 28 years | N/A | Not reported | Not reported | 28–84 | 63 | 13 |  | Pitch task, Timbre task | Unknown | Not reported | 2 months: one month of audiobook training, 1 months of online music training | None | Study looked at the impact of acute training program on pitch discrim and timbre | CI users, 21 NH
24 | The Sound of a Cochlear Implant Investigated in Patients With Single-Sided Deafness and a Cochlear Implant https://pubmed.ncbi.nlm.nih.gov/29889780/ | Jeroen P. M. Peters, Anne W. Wendrich, Ruben H. M. van Eijl, Koenraad S. Rhebergen, Huib Versnel, and Wilko Grolman | University Medical Center Utrecht, Utrecht, The Netherlands | Otology & Neurotology | 2.3 | 2018 | Cochlear provided devices | Cochlear CI 422 | 2009 | 10 | 7 males, 14 females | Iatrogenetic 1, Sudden 3, Lbyrinthitis 1, Unknown 3, Menieres 2 | minimum duration of deafness of 3 months and a maximum of 10 years as inclusion criteria. Mean and median of group not reported. | N/A | PTA in the implanted ear was minimum 70 dB hearing loss. | Not reported | 24 - 68.2 | N/A | N/A |  | CI condition and vocoded speech and music | N | 65dB A | Not reported
25 | Examination of Prosody and Timbre Perception in Adults With Cochlear Implants Comparing Different Fine Structure Coding Strategies https://pubmed.ncbi.nlm.nih.gov/29536106/ | Verena Müller, Heinz Klünter, Dirk Fürstenberg, Hartmut Meister, Martin Walger, Ruth Lang-Rotha | University of Cologne, Germany | American Journal of Audiology | 1.5 | 2018 | MED-EL | MED-EL Sonata and Concerto | Sonata 2013, Concerto 2010 | 14 | 5 males, 9 females | Meningitis 1, Unknown 6, Genetic 4, Acute 1, Noise 2 | mean experience with the CI of 27 months (range: 11–74 months) duration of deafness not reported | N/A | Not reported | Not reported | 46–77 | 60 | N/A |  | Prosoty, Timbre and Music Instrument identification | N | 65dB SPL | 12 weeks alternately using FSP and FS4 coding strategies. Tested 3 times in 12 weeks. | Speech tests conducted but not reported in this publication | Prospective, double blinded randomized
26 | Perception in noise with the Digisonic SP cochlear implant: Clinical trial of Saphyr processor’s upgraded signal processinghttps://pubmed.ncbi.nlm.nih.gov/27246745/ | F. Bergeron, M. Hotton | University Laval Quebec | European Annals of Otorhinolaryngology | 1.9 | 2016 | Oticon | Oticon Digisonic Saphyr speech processor |  | 18 | Not reported | Not reported |  |  | Not reported | Not reported | N/A | 62 | N/A |  | French Canadian HINT in quiet and noise | N | 63dBA, noise at +10, +5,0dB SNR | Compared old strategy to new strategy. New stategy tested at fitting and again at 3 months | None | French Canadian HINT
27 | Long-Term Influence of Electrode Array Length on Speech Recognition in Cochlear Implant Users https://pubmed.ncbi.nlm.nih.gov/32738069/ | Michael W. Canfarotta, MD ; Margaret T. Dillon, AuD ; Craig A. Buchman, | UNC | The Laryngoscope | 3.3 | 2020 | MED-EL | MED-EL medium and standard array, implant varied | Implant type not specified | 19 | 6 males, 13 females | Not mentioned in this publication, could probably find in original 2014 study | duration of moderate to profound hearing loss < 10 years | < 10 | bilateral severe to profound | Not reported | 54 - 73 | 63 | N/A | medium array cohort | CNC, HINT in noise | N | 60 dB SPL +10 SNR for HINT | This study started in 2008 and current publications is a 4 year follow-up from the original paper published in 2014 |  | Grant from MED-EL
[14 empty] | N/A |  |  | 48 - 76 | 61 | N/A | standard array cohort
28 | Prospective Multicentric Follow-up Study of Cochlear Implantation in Adults With Single-Sided Deafness: Tinnitus and Audiological Outcomes https://pubmed.ncbi.nlm.nih.gov/32176124/ | Christine Poncet-Wallet, Elisabeth Mamelle, Benoit Godey, | French mulitcenter (6) | Otology & Neurotology | 2.3 | 2019 | Oticon provdided devices | Digisonic SP 20 channel system | 2012 | 23 | Not reported | Sensorineural hearing loss 9 (35%), trauma 5 (19%), middle ear surgery 4 (15%), unknown 8 (31%), incapacitating tinnitus was entry criteria | Not reported | N/A | SSD (PTA hearing thresholds at 0.5, 1, 2, and 4 kHz ≥70 dB HL in the poorer ear and <35 dB HL at 2 kHz in the better ear) | Not reported | N/A | N/A | N/A |  | French monosyllables, Oticon provided implants at no charge | N | -3 /+5 SNR | 13 months post-op | Tinnitus handicap scale, Tinnitus reaction questionnaire, subjective tinnitus severity scale | French CNC's
29 | Comparison of Bilateral and Unilateral Cochlear Implantation in Adults A Randomized Clinical Trial https://pubmed.ncbi.nlm.nih.gov/26796630/ | Yvette E. Smulders, MD; Alice van Zon, MD; Inge Stegeman, PhD; | University Medical Center lead center in 5 center multicenter study Utrecht, | JAMA Otolaryngol Head Neck Surg. | 6.2 | 2016 | Advanced Bionics | AB HiRes 90K, Harmony processor | 2003 | 38 | Unilateral 11 males, 8 females, Bilateral 11 males, 8 females | Unilateral/Bilateral: Hereditary 7/9, unknown and progressive 9/6, sudden 0/2, trauma 0/1, meningitis 2/0, Rhesus 1/0, sound exposure 0/1 | duration of severe to profound hearing loss of less than 20 years in each ear and a difference in duration of hearing loss between the 2 ears of less than 10 years | <20 | At start of severe hearing loss Unilateral right ear mean 30.8, SD 20.1 range 3-55, bilateral right ear mean 30.5, SD 17.2 range 3-63 Unilateral left ear mean 30.6, SD 19.8, range 3-55 bilateral left ear mean 30.0, SD 17.5, range 3-63 RE: Threshold at 500=84, 1000=97, 2000=104. PTA=95dB; LE: Threshold at 500=86, 1000=99, 2000=107. PTA=97dB | 96 | 26 -67 | 52.2 | 12.5 | Unilateral CI | Utrecht Senteence Test with roving (adaptive) noise, Speech intellegibility test with spacally separated sources, CNC | Y | Adaptive | Patients were implanted between 2010 and 2012. Outcome data collected 1 year post-op | Localization | Dutch language | 19 bilateral, 19 unilateral
[17 empty] | 18 -70 | 47.7 | 15.9 | Bilateral
30 | Perceptions of Sound Quality and Enjoyment After Cochlear Implantation https://pubmed.ncbi.nlm.nih.gov/34595365/ | Sarah Y. Bessen, James E. Saunders, Eric A. Eisen, Isabelle L. Magro | USC Medical Center | OTO Open | - | 2021 | None | Not reported | Implant type not specified | 59 | 29 males, 30 females | Not reported | Duration of deafness prior to implantation, 29.1 years, SD 15.7 | 29.1 |  | Not reported | N/A | 62.51 | 15.7 |  | Survey included patient characteristics, hearing status, experience related to quality of sound, enjoyment of sound (modified HISQUI) | Unknown | Not applicable | Patients were implanted between 2000 and 2019. Asked to complete survey based on experience soon after implantation and current assesssment |  |  | respondants to questionnaire
31 | Impact of music on the quality of life of cochlear implant users: a focus group study https://pubmed.ncbi.nlm.nih.gov/28326996/ | Giorgos Dritsakis , Rachel M. van Besouw, Aoife O’ Meara | University of Southampton | Cochlear Implants International | 1.3 | 2017 | None | AB, Cochlear, MED-EL Neurelec: 12 AB, 9 MED-EL, 6 Cochlear, 2 Neurelec, 1 not reported | Implant type not specified | 30 | 12 males, 18 females | 24 post-lingual, 5 pre-lingual, 1 unspecified | not reported | N/A | Not reported | Not reported | 18 - 81 | 49.5 | N/A |  | Focus group 3 groups of users: bilateral, bimodal and unilateral | Unknown | Not applicable | Duration of use between 1 year and 18 years |  |  | total: implanted bilaterally, unilaterally and bimodally
32 | Self-reported music perception is related to quality of life and self-reported hearing abilities in cochlear implant users https://pubmed.ncbi.nlm.nih.gov/34470590/ | Christina Fuller,Rolien Free, Bert Maat, Deniz Başkent | Groningen, University Medical Center, Netherlands | Cochlear Implants International | 1.3 | 2021 | None | AB, Cochlear: 1 Cochlear CI 22, 73 cochlear CI 24R, 24 HiRes | CI 22 1990, CI 24R 2013, Hi RES 2003 | 98 | 39 males, 59 females | Not reported | Mean duration hearing impairment 37.9 years ± 18.6 | 37.9 | Not reported | Not reported | 18 to 85 | 65.6 | 11.9 |  | Participants filled three questionnaires: (1) the Dutch Musical Background Questionnaire (DMBQ), which measures the music listening habits, the quality of the sound of music and the selfassessed perception of elements of music; (2) the Nijmegen Cochlear Implant Questionnaire (NCIQ), which measures health-related QoL; (3) the Speech, Spatial and Qualities (SSQ) of hearing scale, which measures self-assessed hearing ability. | Not applicable | Not applicable |  |  |  | , 35% bimodal
33 | Music Is More Enjoyable With Two Ears, Even If One of Them Receives a Degraded Signal Provided By a Cochlear Implant https://pubmed.ncbi.nlm.nih.gov/31469701/ | David M. Landsberger, Katrien Vermeire,Natalia Stupak, | New York University | Ear & Hearing | 3.6 | 2021 | None | Cochlear, MED-EL 3: CI24RE, 1 CI512, 4 Pulsar, 2 COMBI 40+, 2 Sonata | CI24RE 2013, CI 512 2014, Pulsar 2004. COMBI 40+ 2001, Sonata 2013 | 12 | 7 males, 5 females | 4 unknown, 2 idiopathic, 1 viral, 1 labyrinthitis, 2 meningitis, 2 trauma | Duration of deafness 1 - 6 years in implanted ear, contralateral ear was normal hearing | 2022-01-06 | Not reported | Not reported | 29 - 68 | 57 | N/A |  | MUSHRA- compare implant ear with contralateral normal hearing ear | Unknown | Not reported | Duration of use 8 months to 10 years
34 | Effect of instrument timbre on musical emotion recognition in normal-hearing listeners and cochlear implant users https://pubmed.ncbi.nlm.nih.gov/32611176/ | Xin Luo and Brendon Warner | Arizona State University | The Journal of the Acoustical Society of America | 1.8 | 2020 | None | Cochlear, AB: 3 Nucleus 6, 3 Nucleus 7, 3 HiRes 90K | Nucleus 6 2013, Nucleus 7 2017, HiRES 90K 2003 | 9 | 2 males, 7 females | 1 ototoxic, 4 unknown, 2 genetic, 1 hereditary, 1 meningitis | Not reported | N/A | Not reported | Not reported | 50 - 78 | 64 | N/A |  | 4 computer generated instruments played separately | Unknown | Not reported | Duration of use 1 to 18 years | sharper temporal onsets of piano and trumpet may allow for better perception of tempo cues for musical emotion recognition, compared to the violin and organ.
35 | Reduction of the Harmonic Series Influences Musical Enjoyment With Cochlear Implants https://pubmed.ncbi.nlm.nih.gov/27755358/ | John S. Nemer, Gavriel D. Kohlberg, Dean M. Mancuso, Brianna M. Griffin, Michael V. Certo, Stephanie Y. Chen, Michael B. Chun, Jaclyn B. Spitzer, and Anil K. Lalwani | Columbia University | Otology & Neurotology | 2.3 | 2016 | AB provided simulation software | AB, Cochlear | Implant type not specified | 8 | CI users 2 males, 6 females | Not reported | Not reported | N/A | Not reported | Not reported | 35 - 74 | 62 | 14.1 | CI Users | music samples with harmonics manipulated via software | N | Subjects rated samples on a scale: natural/unnatural, pleasant/unpleasant, sounds like music/does not sound like music | Not reported |  |  | 20 normal hearing, 4 AB HiRes90K, 1 Cochlear CI 422, 2 cochlear CI 24RE, 1 Cochlear CI 522
[17 empty] | 23 - 31 | 25 | 2.5 | Normal hearing
36 | Musical and vocal emotion perception for cochlear implants users https://pubmed.ncbi.nlm.nih.gov/30181063/ | S. Paquette, G.D. Ahmed, M.V. Goffi-Gomez, A.C.H. Hoshino, I. Peretz A. Lehmann | University of Montreal, Quebec Canada | Hearing Research | 3.2 | 2018 | None | Cochlear 8 Freedom, 1 Nucleus 24, MED-EL 1 Sonata,Oticon 1 Digisonic | Freedom 2005, Sonata 2013, Nucleus 2000, Digisonic 2012 | 11 | 5 males, 6 females | Not reported | Length of hearing deprivation mean 13.2, range 1 - 28 years | 13.2 | Not reported | Not reported | 21 - 62 | 49 | N/A |  | Music samples stimuli that allowed vocal and musical auditory emotions to be comparatively assessed | N | evaluate emotion perception in cochlear implant users (Experiment 1) and to investigate emotion perception in natural versus cochlear implant hearing in the same participants with a validated cochlear implant simulation approach (Experiment 2). | Duration of use 1.7 - 10 years |  |  | 8 Cochlear Freedom, 1 MED-EL Sonata, 1 Cochlear Nucleus 24, 1 Oticon Digisonic
37 | A Retrospective Multicenter Study Comparing Speech Perception Outcomes for Bilateral Implantation and Bimodal Rehabilitation https://pubmed.ncbi.nlm.nih.gov/25695925/ | Peter J. Blamey, Bert Maat, Deniz Başkent, Deborah Mawman et al | Lead author Melbourn, Austraila CI center | Ear & Hearing | 3.6 | 2015 | None | Not reported | Implant type not specified | 2247 | Not reported | Not reported |  |  | Not reported | Not reported for implanted ear | N/A | N/A | N/A |  | speech in quiet and noise | Not reported | Percentile ranking used as a way of normalizing data due to different languages, presentation levels and noise conditions | Not reported |  | Could be high due to N of subjects but details are lacking | Total, 1572 tested in unilateral condition
38 | One-year follow up of auditory performance in post-lingually deafened adults implanted with the Neurelec Digisonic® SP/Saphyr® Neo cochlear implant system https://pubmed.ncbi.nlm.nih.gov/26779331/ | Déborah Borger, Geneviève Lina-Granade, Stéphanie Verneyre, Hung Thai-Van, Donia Saai, Michel Hoen, Dan Gnansia, Eric Truy | Lyon, France | Audiology Research | - | 2015 | Oticon | Oticon Digisonic SP/ Saphyr speech processor | 2012 | 10 | 4 males, 6 females | 4 Unknown, 1 Otspongiosis, 1 accident, 1 genetic, 1 malformation, 1 evolutive, 1 sudden | deafness duration (N=7; M=3.57; SD=3.10; Min=1 y; Max=10 y) | 3.57 | Threshold at 500=95, 1000=95, 2000=99. PTA=96dB | 96 | 34 - 70 | 55.9 | 11.06 | N=10 | words in quiet and noise, speech in quiet | N | 65dB SPL | 3, 6 and 12 months |  | Compared outcomes of 3 different speech processors: Saphyr, Digisonic and Convex
39 | Straight vs. modiolar hugging electrodes – Does one perform better than the other? https://pubmed.ncbi.nlm.nih.gov/25614265/ | Jayesh Doshi, Peter Johnson, Deborah Mawman, Kevin Green, Iain Bruce, Simon Freeman, Simon Lloyd | Manchester, UK | Cochlear Implants International | 1.3 | 2015 | Cochlear | Cochlear CI422 implant | 2009 | 32 | Not reported | Not reported | not reported | N/A | not reported | Not reported | Not reported | N/A | N/A |  | BKB sentences in quiet 70 dB, and in noise +10 SNR | N | 70 dB | 3 and 9 months |  | Compared perrformance between straight and perimodiolar. No difference found.
40 | Outcomes of Cochlear Implantation in Adults with Asymmetric Hearing Loss https://pubmed.ncbi.nlm.nih.gov/25569365/ | Emily Franko-Tobin, Phillip Ryan Camilon, Elizabeth Camposeo, Meredith A. Holcomb, and Ted A. Meyer | University of South Carolina, Charleston | Otology and Neurotology | 2.3 | 2015 | Cochlear, AB, MED-EL | Cochlear (8), AB (7) and MED-EL (20) | Device type not specified | 35 | Not reported | Not reported | average duration of hearing loss of 8.5 years. Moderate to severe group mean 12.7 SD 13.7, moderate to profound group mean 3.3, SD 4.5, Severe to profound group mean 7.9, SD 8.0 | 8.5 | Implanted ear: moderate to severe group mean 83.8 SD 5.2, moderate profound group, mean 86.4, SD 14.8, severe to profound group mean 88.9 SD 12.4. Contralateral ear, moderate to severe group mean 61.5, SD 9.6, moderate to profound group mean71.4 SD 33.9, severe to profound group mean 95.1 SD 15.1 | 86 | N/A | 66.6 | 18.6 | Age at implantation: moderate to severe group | CNC in quiet, HINT, AzBio | N | 60 dB | 6 and 12 months |  | Compared groups with differing pre-op residual hearing. Group with better pre-op performed better post-op
[17 empty] | N/A | 52 | 20.2 | Age at implantation: moderate to profound group
[17 empty] | N/A | 62.4 | 17.1 | Age at implantation: severe to profound group
41 | Hearing Preservation and Improved Speech Perception With a Flexible 28-mm Electrode https://pubmed.ncbi.nlm.nih.gov/25299833/ | Silke Helbig, Matthias Helbig, Martin Leinung, Timo Stover, Uwe Baumann, and Tobias Rader | Goethe University, Frankfurt, Germany | Otology and Neurotology | 2.3 | 2015 | MED-EL support in preparing article | Med-El Concerto with FLEX 28 electrode | 2010 | 34 | 13 males, 21 females | Not reported |  | N/A | measurable preoperative residual hearing, with preoperative thresholds better or equal to 80 dB at 125 and 250 Hz, and better or equal to 90 dB at 500 Hz | Not reported | 33.4 - 86.5 | 68.3, 62.7 | N/A |  | Freiburg monosyllables, OLSA in noise | Yes for OLSA | 65dB Freiburg | 3 and 6 months | None | Retrospective analysis of patients implanted between Oct. 2011 and Dec. 2012
42 | The Impact of Cochlear Implantation on Speech Understanding, Subjective Hearing Performance, and Tinnitus Perception in Patients with Unilateral Severe to Profound Hearing Loss https://pubmed.ncbi.nlm.nih.gov/25594387/ | Dayse Ta´vora-Vieira, Roberta Marino, Aanand Acharya, and Gunesh P. Rajan | University of Western Australia, Perth | Otology and Neurotology | 2.3 | 2015 | MED-EL support in statistical analyis and editing | MED-EL FLEX 28 and 31.5 electrode |  | 28 | 13 males, 15 females | 11 idiopathic sudden sensorineural hearing loss, 3 post-traumatic, 9 unknown, 1 iatrogenetic, 1 Meniere's, 1 ototoxic, 1 mumps, 1 fistula | 0.3 to 40 years. Mean not calculated | N/A | Only reported for non-implanted ear | Not reported | 38 to 74 | N/A | N/A |  | BKB | Yes for OLSA | 65 dB | 3, 6, 12 and 24 months | SSQ, APHAB, Tinnitus Reaction Questionnaire | speech perception in noise is improved with CI use. CI use improves the subjective perception of hearing in UD subjects and decreases the disturbance of tinnitus, which may in turn contribute to an overall positive subjective impression of benefits in this group of subjects.
89.4675
12.4567
53.75
108
Note on H40: @Melissa. Did you mean launch date 2008? otherwise I would like Yvette to play the lottery for me as she clearly has clairvoyant skills ;) -Jana S